## Raw output
Analyzer | Protocol Name | Protocol Date | Protocol Type | Vial Size | Operator | Sample Name | Lot # | Sample Type | Time Stamp | Vial # | Turbo | ICR | Flush Time (sec) | TOC Average (ppb) | TOC Standard Deviation (ppb) | TOC RSD (%) | IC Average (ppb) | IC Standard Deviation (ppb) | IC RSD (%) | TC Average (ppb) | TC Standard Deviation (ppb) | TC RSD (%) | Rep # | Rejected | TOC (ppb) | IC (ppb) | TC (ppb) | Acid Rate (μL/min) | Oxid Rate (μL/min) | Comments | Performed By Certified FSE
10010432 | Microbial biomass protocol | 2022-02-15 14:11 | Autosampler | 40 |  | Sample |  | Sample | 2022-02-15 14:11 | 1 | N | N | 240 | 1020 | 5.77 | 0.57 | 147 | 0.58 | 0.39 | 1170 | 5.77 | 0.49 | 1 | X | 1020 | 145 | 1160 | 0.3 | 0
[23 empty] | 2 |  | 1010 | 147 | 1160 | 0.3 | 0
[23 empty] | 3 |  | 1020 | 147 | 1170 | 0.3 | 0
[23 empty] | 4 |  | 1020 | 148 | 1170 | 0.3 | 0
[6 empty] | Sample |  | Sample | 2022-02-15 14:37 | 2 | N | N | 240 | 5050 | 15.3 | 0.3 | 166 | 0.58 | 0.35 | 5220 | 15.3 | 0.29 | 1 | X | 5030 | 163 | 5190 | 1 | 0.1
[23 empty] | 2 |  | 5040 | 165 | 5210 | 1 | 0.1
[23 empty] | 3 |  | 5070 | 166 | 5240 | 1 | 0.1
[23 empty] | 4 |  | 5050 | 166 | 5220 | 1 | 0.1
[6 empty] | Sample |  | Sample | 2022-02-15 15:04 | 3 | N | N | 240 | 10000 | 80.8 | 0.81 | 137 | 0.58 | 0.42 | 10100 | 57.7 | 0.57 | 1 | X | 9960 | 135 | 10100 | 1 | 1.1
[23 empty] | 2 |  | 9960 | 136 | 10100 | 1 | 1.1
[23 empty] | 3 |  | 9960 | 137 | 10100 | 1 | 1.1
[23 empty] | 4 |  | 10100 | 137 | 10200 | 1 | 1.1
[6 empty] | Sample |  | Sample | 2022-02-15 15:30 | 4 | N | N | 240 | 19900 | 252 | 1.27 | 132 | 0.58 | 0.44 | 20000 | 252 | 1.26 | 1 | X | 19900 | 130 | 20000 | 1 | 2.1
[23 empty] | 2 |  | 19600 | 132 | 19700 | 1 | 2.1
[23 empty] | 3 |  | 19900 | 132 | 20000 | 1 | 2.1
[23 empty] | 4 |  | 20100 | 133 | 20200 | 1 | 2.1
[6 empty] | Sample |  | Sample | 2022-02-15 15:56 | 5 | N | N | 240 | 29400 | 115 | 0.39 | 160 | 0.58 | 0.36 | 29600 | 115 | 0.39 | 1 | X | 29300 | 157 | 29500 | 1 | 3.6
[23 empty] | 2 |  | 29300 | 159 | 29500 | 1 | 3.6
[23 empty] | 3 |  | 29500 | 160 | 29700 | 1 | 3.6
[23 empty] | 4 |  | 29300 | 160 | 29500 | 1 | 3.6
[6 empty] | Sample |  | Sample | 2022-02-15 16:22 | 6 | N | N | 240 | 38100 | 173 | 0.45 | 127 | 0.58 | 0.45 | 38200 | 173 | 0.45 | 1 | X | 38100 | 126 | 38200 | 1 | 5.2
[23 empty] | 2 |  | 38200 | 127 | 38300 | 1 | 5.2
[23 empty] | 3 |  | 38200 | 128 | 38300 | 1 | 5.2
[23 empty] | 4 |  | 37900 | 127 | 38000 | 1 | 5.2
[6 empty] | Sample |  | Sample | 2022-02-15 16:48 | 7 | N | N | 240 | 42300 | 666 | 1.58 | 149 | 0.58 | 0.39 | 42400 | 693 | 1.63 | 1 | X | 42700 | 148 | 42800 | 1 | 6.7
[23 empty] | 2 |  | 42700 | 149 | 42800 | 1 | 6.7
[23 empty] | 3 |  | 41500 | 149 | 41600 | 1 | 6.7
[23 empty] | 4 |  | 42600 | 150 | 42800 | 1 | 6.7
[6 empty] | Sample |  | Sample | 2022-02-15 17:14 | 8 | N | N | 240 | 11600 | 57.7 | 0.5 | 130 | 0 | 0 | 11700 | 57.7 | 0.49 | 1 | X | 11600 | 129 | 11700 | 1 | 7.5
[23 empty] | 2 |  | 11600 | 130 | 11700 | 1 | 7.5
[23 empty] | 3 |  | 11600 | 130 | 11700 | 1 | 7.5
[23 empty] | 4 |  | 11500 | 130 | 11600 | 1 | 7.5
[6 empty] | Sample |  | Sample | 2022-02-15 17:40 | 9 | N | N | 240 | 4150 | 30 | 0.72 | 114 | 0.58 | 0.5 | 4260 | 35.1 | 0.82 | 1 | X | 4210 | 113 | 4320 | 1 | 2.3
[23 empty] | 2 |  | 4180 | 115 | 4300 | 1 | 2.3
[23 empty] | 3 |  | 4150 | 114 | 4260 | 1 | 2.3
[23 empty] | 4 |  | 4120 | 114 | 4230 | 1 | 2.3
[6 empty] | Sample |  | Sample | 2022-02-15 18:06 | 10 | N | N | 240 | 11500 | 115 | 1.01 | 125 | 0.58 | 0.46 | 11600 | 115 | 1 | 1 | X | 11600 | 124 | 11700 | 1 | 0.8
[23 empty] | 2 |  | 11400 | 125 | 11500 | 1 | 0.8
[23 empty] | 3 |  | 11600 | 125 | 11700 | 1 | 0.8
[23 empty] | 4 |  | 11400 | 124 | 11500 | 1 | 0.8
[6 empty] | Sample |  | Sample | 2022-02-15 18:32 | 11 | N | N | 240 | 8250 | 11.5 | 0.14 | 314 | 0.58 | 0.18 | 8560 | 11.5 | 0.13 | 1 | X | 8210 | 310 | 8520 | 1 | 2.2
[23 empty] | 2 |  | 8240 | 314 | 8550 | 1 | 2.2
[23 empty] | 3 |  | 8260 | 315 | 8570 | 1 | 2.2
[23 empty] | 4 |  | 8240 | 314 | 8550 | 1 | 2.2
[6 empty] | Sample |  | Sample | 2022-02-15 18:58 | 12 | N | N | 240 | 18900 | 0 | 0 | 123 | 0 | 0 | 19000 | 0 | 0 | 1 | X | 18800 | 122 | 18900 | 1 | 1.8
[23 empty] | 2 |  | 18900 | 123 | 19000 | 1 | 1.8
[23 empty] | 3 |  | 18900 | 123 | 19000 | 1 | 1.8
[23 empty] | 4 |  | 18900 | 123 | 19000 | 1 | 1.8
[6 empty] | Sample |  | Sample | 2022-02-15 19:24 | 13 | N | N | 240 | 14800 | 0 | 0 | 117 | 0 | 0 | 14900 | 0 | 0 | 1 | X | 14800 | 116 | 14900 | 1 | 3.4
[23 empty] | 2 |  | 14800 | 117 | 14900 | 1 | 3.4
[23 empty] | 3 |  | 14800 | 117 | 14900 | 1 | 3.4
[23 empty] | 4 |  | 14800 | 117 | 14900 | 1 | 3.4
[6 empty] | Sample |  | Sample | 2022-02-15 19:50 | 14 | N | N | 240 | 13700 | 57.7 | 0.42 | 126 | 0 | 0 | 13800 | 57.7 | 0.42 | 1 | X | 13700 | 124 | 13800 | 1 | 2.7
[23 empty] | 2 |  | 13800 | 126 | 13900 | 1 | 2.7
[23 empty] | 3 |  | 13700 | 126 | 13800 | 1 | 2.7
[23 empty] | 4 |  | 13700 | 126 | 13800 | 1 | 2.7
[6 empty] | Sample |  | Sample | 2022-02-15 20:17 | 15 | N | N | 240 | 14900 | 57.7 | 0.39 | 124 | 0.58 | 0.47 | 15000 | 57.7 | 0.38 | 1 | X | 15100 | 122 | 15200 | 1 | 2.6
[23 empty] | 2 |  | 15000 | 124 | 15100 | 1 | 2.6
[23 empty] | 3 |  | 14900 | 123 | 15000 | 1 | 2.6
[23 empty] | 4 |  | 14900 | 124 | 15000 | 1 | 2.6
[6 empty] | Sample |  | Sample | 2022-02-15 20:43 | 16 | N | N | 240 | 11900 | 115 | 0.97 | 150 | 0 | 0 | 12100 | 57.7 | 0.48 | 1 | X | 12100 | 149 | 12200 | 1 | 2.7
[23 empty] | 2 |  | 12000 | 150 | 12100 | 1 | 2.7
[23 empty] | 3 |  | 12000 | 150 | 12100 | 1 | 2.7
[23 empty] | 4 |  | 11800 | 150 | 12000 | 1 | 2.7
[6 empty] | Sample |  | Sample | 2022-02-15 21:09 | 17 | N | N | 240 | 10100 | 57.7 | 0.57 | 192 | 0.58 | 0.3 | 10300 | 57.7 | 0.56 | 1 | X | 10000 | 188 | 10200 | 1 | 2.3
[23 empty] | 2 |  | 10100 | 191 | 10300 | 1 | 2.3
[23 empty] | 3 |  | 10100 | 192 | 10300 | 1 | 2.3
[23 empty] | 4 |  | 10000 | 192 | 10200 | 1 | 2.3
[6 empty] | Sample |  | Sample | 2022-02-15 21:35 | 18 | N | N | 240 | 6020 | 52 | 0.86 | 327 | 1.73 | 0.53 | 6350 | 52 | 0.82 | 1 | X | 6100 | 326 | 6430 | 1 | 2.1
[23 empty] | 2 |  | 6050 | 328 | 6380 | 1 | 2.1
[23 empty] | 3 |  | 6050 | 328 | 6380 | 1 | 2.1
[23 empty] | 4 |  | 5960 | 325 | 6290 | 1 | 2.1
[6 empty] | Sample |  | Sample | 2022-02-15 22:01 | 19 | N | N | 240 | 3830 | 15.3 | 0.4 | 184 | 0.58 | 0.31 | 4010 | 15.3 | 0.38 | 1 | X | 3810 | 181 | 3990 | 1 | 1.2
[23 empty] | 2 |  | 3820 | 184 | 4000 | 1 | 1.2
[23 empty] | 3 |  | 3830 | 183 | 4010 | 1 | 1.2
[23 empty] | 4 |  | 3850 | 184 | 4030 | 1 | 1.2
[6 empty] | Sample |  | Sample | 2022-02-15 22:27 | 20 | N | N | 240 | 5010 | 10 | 0.2 | 129 | 0 | 0 | 5140 | 10 | 0.19 | 1 | X | 5030 | 128 | 5160 | 1 | 0.8
[23 empty] | 2 |  | 5020 | 129 | 5150 | 1 | 0.8
[23 empty] | 3 |  | 5010 | 129 | 5140 | 1 | 0.8
[23 empty] | 4 |  | 5000 | 129 | 5130 | 1 | 0.8
[6 empty] | Sample |  | Sample | 2022-02-15 22:53 | 21 | N | N | 240 | 1190 | 5.77 | 0.48 | 88.3 | 3.2 | 3.63 | 1280 | 0 | 0 | 1 | X | 1190 | 81.6 | 1270 | 1 | 1
[23 empty] | 2 |  | 1200 | 85 | 1280 | 1 | 1
[23 empty] | 3 |  | 1190 | 88.4 | 1280 | 1 | 1
[23 empty] | 4 |  | 1190 | 91.4 | 1280 | 1 | 1
[6 empty] | Sample |  | Sample | 2022-02-15 23:19 | 22 | N | N | 240 | 5230 | 5.77 | 0.11 | 150 | 0.58 | 0.38 | 5380 | 5.77 | 0.11 | 1 | X | 5270 | 148 | 5420 | 1 | 0.2
[23 empty] | 2 |  | 5240 | 150 | 5390 | 1 | 0.2
[23 empty] | 3 |  | 5230 | 150 | 5380 | 1 | 0.2
[23 empty] | 4 |  | 5230 | 151 | 5380 | 1 | 0.2
[6 empty] | Sample |  | Sample | 2022-02-15 23:45 | 23 | N | N | 240 | 16800 | 252 | 1.5 | 127 | 0 | 0 | 16900 | 252 | 1.49 | 1 | X | 16700 | 125 | 16800 | 1 | 1.1
[23 empty] | 2 |  | 16800 | 127 | 16900 | 1 | 1.1
[23 empty] | 3 |  | 17100 | 127 | 17200 | 1 | 1.1
[23 empty] | 4 |  | 16600 | 127 | 16700 | 1 | 1.1
[6 empty] | Sample |  | Sample | 2022-02-16 00:11 | 24 | N | N | 240 | 10000 | 80.8 | 0.81 | 158 | 0.58 | 0.36 | 10200 | 100 | 0.98 | 1 | X | 10000 | 157 | 10200 | 1 | 3.3
[23 empty] | 2 |  | 10100 | 159 | 10300 | 1 | 3.3
[23 empty] | 3 |  | 10000 | 158 | 10200 | 1 | 3.3
[23 empty] | 4 |  | 9940 | 158 | 10100 | 1 | 3.3
[6 empty] | Sample |  | Sample | 2022-02-16 00:37 | 25 | N | N | 240 | 8910 | 32.1 | 0.36 | 234 | 0 | 0 | 9140 | 32.1 | 0.35 | 1 | X | 8820 | 231 | 9050 | 1 | 2
[23 empty] | 2 |  | 8930 | 234 | 9160 | 1 | 2
[23 empty] | 3 |  | 8870 | 234 | 9100 | 1 | 2
[23 empty] | 4 |  | 8920 | 234 | 9150 | 1 | 2
[6 empty] | Sample |  | Sample | 2022-02-16 01:03 | 26 | N | N | 240 | 8180 | 41.6 | 0.51 | 409 | 2.31 | 0.57 | 8590 | 41.6 | 0.48 | 1 | X | 8260 | 409 | 8670 | 1 | 1.9
[23 empty] | 2 |  | 8190 | 410 | 8600 | 1 | 1.9
[23 empty] | 3 |  | 8210 | 410 | 8620 | 1 | 1.9
[23 empty] | 4 |  | 8130 | 406 | 8540 | 1 | 1.9
[6 empty] | Sample |  | Sample | 2022-02-16 01:29 | 27 | N | N | 240 | 20000 | 153 | 0.76 | 241 | 0.58 | 0.24 | 20200 | 153 | 0.75 | 1 | X | 20200 | 239 | 20400 | 1 | 1.7
[23 empty] | 2 |  | 20000 | 242 | 20200 | 1 | 1.7
[23 empty] | 3 |  | 20200 | 241 | 20400 | 1 | 1.7
[23 empty] | 4 |  | 19900 | 241 | 20100 | 1 | 1.7
[6 empty] | Sample |  | Sample | 2022-02-16 01:56 | 28 | N | N | 240 | 10100 | 0 | 0 | 187 | 0.58 | 0.31 | 10300 | 0 | 0 | 1 | X | 10100 | 185 | 10300 | 1 | 3.6
[23 empty] | 2 |  | 10100 | 187 | 10300 | 1 | 3.6
[23 empty] | 3 |  | 10100 | 187 | 10300 | 1 | 3.6
[23 empty] | 4 |  | 10100 | 188 | 10300 | 1 | 3.6
[6 empty] | Sample |  | Sample | 2022-02-16 02:22 | 29 | N | N | 240 | 7850 | 10 | 0.13 | 221 | 1.53 | 0.69 | 8070 | 10 | 0.12 | 1 | X | 7860 | 217 | 8080 | 1 | 2.1
[23 empty] | 2 |  | 7860 | 220 | 8080 | 1 | 2.1
[23 empty] | 3 |  | 7850 | 221 | 8070 | 1 | 2.1
[23 empty] | 4 |  | 7840 | 223 | 8060 | 1 | 2.1
[6 empty] | Sample |  | Sample | 2022-02-16 02:48 | 30 | N | N | 240 | 6650 | 25.2 | 0.38 | 182 | 0.58 | 0.32 | 6830 | 25.2 | 0.37 | 1 | X | 6670 | 180 | 6850 | 1 | 1.7
[23 empty] | 2 |  | 6670 | 181 | 6850 | 1 | 1.7
[23 empty] | 3 |  | 6650 | 182 | 6830 | 1 | 1.7
[23 empty] | 4 |  | 6620 | 182 | 6800 | 1 | 1.7
[6 empty] | Sample |  | Sample | 2022-02-16 03:14 | 31 | N | N | 240 | 6210 | 57.7 | 0.93 | 135 | 0 | 0 | 6350 | 52 | 0.82 | 1 | X | 6220 | 133 | 6350 | 1 | 1.4
[23 empty] | 2 |  | 6280 | 135 | 6410 | 1 | 1.4
[23 empty] | 3 |  | 6180 | 135 | 6320 | 1 | 1.4
[23 empty] | 4 |  | 6180 | 135 | 6320 | 1 | 1.4
[6 empty] | Sample |  | Sample | 2022-02-16 03:40 | 32 | N | N | 240 | 12600 | 57.7 | 0.46 | 140 | 0.58 | 0.41 | 12700 | 57.7 | 0.46 | 1 | X | 12700 | 139 | 12800 | 1 | 1.3
[23 empty] | 2 |  | 12600 | 140 | 12700 | 1 | 1.3
[23 empty] | 3 |  | 12600 | 140 | 12700 | 1 | 1.3
[23 empty] | 4 |  | 12500 | 139 | 12600 | 1 | 1.3
[6 empty] | Sample |  | Sample | 2022-02-16 04:06 | 33 | N | N | 240 | 19600 | 100 | 0.51 | 270 | 1.15 | 0.43 | 19900 | 100 | 0.5 | 1 | X | 20100 | 272 | 20400 | 1 | 2.4
[23 empty] | 2 |  | 19700 | 271 | 20000 | 1 | 2.4
[23 empty] | 3 |  | 19600 | 271 | 19900 | 1 | 2.4
[23 empty] | 4 |  | 19500 | 269 | 19800 | 1 | 2.4
[6 empty] | Sample |  | Sample | 2022-02-16 04:32 | 34 | N | N | 240 | 9500 | 58.6 | 0.62 | 135 | 0.58 | 0.43 | 9640 | 60.8 | 0.63 | 1 | X | 9540 | 134 | 9670 | 1 | 3.5
[23 empty] | 2 |  | 9570 | 136 | 9710 | 1 | 3.5
[23 empty] | 3 |  | 9460 | 135 | 9600 | 1 | 3.5
[23 empty] | 4 |  | 9480 | 135 | 9610 | 1 | 3.5
[6 empty] | Sample |  | Sample | 2022-02-16 04:58 | 35 | N | N | 240 | 14600 | 57.7 | 0.39 | 138 | 0 | 0 | 14700 | 57.7 | 0.39 | 1 | X | 14900 | 137 | 15000 | 1 | 2
[23 empty] | 2 |  | 14600 | 138 | 14700 | 1 | 2
[23 empty] | 3 |  | 14700 | 138 | 14800 | 1 | 2
[23 empty] | 4 |  | 14600 | 138 | 14700 | 1 | 2
[6 empty] | Sample |  | Sample | 2022-02-16 05:24 | 36 | N | N | 240 | 3980 | 28.9 | 0.72 | 274 | 0.58 | 0.21 | 4250 | 28.9 | 0.68 | 1 | X | 3990 | 272 | 4260 | 1 | 2.7
[23 empty] | 2 |  | 4000 | 274 | 4270 | 1 | 2.7
[23 empty] | 3 |  | 3950 | 274 | 4220 | 1 | 2.7
[23 empty] | 4 |  | 4000 | 273 | 4270 | 1 | 2.7
[6 empty] | Sample |  | Sample | 2022-02-16 05:50 | 37 | N | N | 240 | 11300 | 57.7 | 0.51 | 169 | 0.58 | 0.34 | 11500 | 57.7 | 0.5 | 1 | X | 11300 | 167 | 11500 | 1 | 0.8
[23 empty] | 2 |  | 11400 | 169 | 11600 | 1 | 0.8
[23 empty] | 3 |  | 11300 | 169 | 11500 | 1 | 0.8
[23 empty] | 4 |  | 11300 | 168 | 11500 | 1 | 0.8
[6 empty] | Sample |  | Sample | 2022-02-16 06:16 | 38 | N | N | 240 | 5660 | 5.77 | 0.1 | 142 | 1 | 0.7 | 5800 | 5.77 | 0.1 | 1 | X | 5650 | 140 | 5790 | 1 | 2.2
[23 empty] | 2 |  | 5660 | 141 | 5800 | 1 | 2.2
[23 empty] | 3 |  | 5670 | 142 | 5810 | 1 | 2.2
[23 empty] | 4 |  | 5660 | 143 | 5800 | 1 | 2.2
[6 empty] | Sample |  | Sample | 2022-02-16 06:42 | 39 | N | N | 240 | 12200 | 100 | 0.82 | 205 | 0.58 | 0.28 | 12400 | 100 | 0.81 | 1 | X | 12400 | 204 | 12600 | 1 | 1.2
[23 empty] | 2 |  | 12200 | 206 | 12400 | 1 | 1.2
[23 empty] | 3 |  | 12300 | 205 | 12500 | 1 | 1.2
[23 empty] | 4 |  | 12100 | 205 | 12300 | 1 | 1.2
[6 empty] | Sample |  | Sample | 2022-02-16 07:09 | 40 | N | N | 240 | 209 | 2.52 | 1.21 | 114 | 0.58 | 0.51 | 322 | 3.06 | 0.95 | 1 | X | 215 | 114 | 329 | 1 | 2.3
[23 empty] | 2 |  | 211 | 114 | 325 | 1 | 2.3
[23 empty] | 3 |  | 209 | 114 | 323 | 1 | 2.3
[23 empty] | 4 |  | 206 | 113 | 319 | 1 | 2.3
[6 empty] | Sample |  | Sample | 2022-02-16 07:35 | 41 | N | N | 240 | 7080 | 133 | 1.88 | 148 | 1 | 0.68 | 7230 | 133 | 1.84 | 1 | X | 7100 | 145 | 7250 | 0.3 | 0
[23 empty] | 2 |  | 7230 | 147 | 7380 | 0.3 | 0
[23 empty] | 3 |  | 7010 | 148 | 7160 | 0.3 | 0
[23 empty] | 4 |  | 6990 | 149 | 7140 | 0.3 | 0
[6 empty] | Sample |  | Sample | 2022-02-16 08:00 | 42 | N | N | 240 | 10700 | 57.7 | 0.54 | 156 | 0.58 | 0.37 | 10900 | 57.7 | 0.53 | 1 | X | 10700 | 155 | 10900 | 1 | 1.9
[23 empty] | 2 |  | 10700 | 156 | 10900 | 1 | 1.9
[23 empty] | 3 |  | 10700 | 157 | 10900 | 1 | 1.9
[23 empty] | 4 |  | 10600 | 156 | 10800 | 1 | 1.9

## Organized and std curve adjust
Date | Horizon | Vial # | Fumigation | TOC Average (ppb) | TOC.ppm.raw | TOC.adjusted |  |  | Actual | Measured
Fall 2020 | B | 16 | NF | 3830 | 3.83 | 3.8026 | 3 | 10000 | 10 | 10
Fall 2020 | B | 18 | NF | 4150 | 4.15 | 4.1234 | 5 | 29400 | 30 | 29.4
Fall 2020 | B | 20 | NF | 5010 | 5.01 | 4.9856 | 6 | 38100 | 40 | 38.1
Fall 2020 | B | 23 | NF | 5230 | 5.23 | 5.2061 | 7 | 42300 | 50 | 42.3
Fall 2020 | B | 30 | NF | 13700 | 13.7 | 13.7457
Fall 2020 | B | 31 | NF | 16800 | 16.8 | 16.9415
Fall 2020 | B | 36 | NF | 11900 | 11.9 | 11.89
Fall 2020 | B | 38 | NF | 8250 | 8.25 | 8.2337
Fall 2020 | B | 40 | NF | 11600 | 11.6 | 11.5807
Fall 2020 | B | 41 | NF | 14900 | 14.9 | 14.9828
Fall 2020 | B | 42 | NF | 6020 | 6.02 | 5.9981
Fall 2020 | B | 44 | NF | 1190 | 1.19 | 1.156 | 2 | 5050 | 5 | 5.05
Fall 2020 | B | 45 | NF | 11500 | 11.5 | 11.4776
Fall 2020 | OA | 20 | NF | 14800 | 14.8 | 14.8797
Fall 2020 | OA | 40 | NF | 18900 | 18.9 | 19.1065
Summer 2021 | OA | 96 | NF | 20000 | 20 | 20.2405
Summer 2021 | OA | 99 | NF | 14600 | 14.6 | 14.6735
Summer 2021 | OA | 102 | NF | 12600 | 12.6 | 12.6116
Summer 2021 | OA | 105 | NF | 10000 | 10 | 9.9881
Summer 2021 | OA | 107 | NF | 19600 | 19.6 | 19.8281
Summer 2021 | OA | 110 | NF | 7850 | 7.85 | 7.8327
Summer 2021 | OA | 112 | NF | 8180 | 8.18 | 8.1635
Summer 2021 | OA | 115 | NF | 8910 | 8.91 | 8.8953
Summer 2021 | OA | 118 | NF | 6650 | 6.65 | 6.6297
Summer 2021 | OA | 122 | NF | 12200 | 12.2 | 12.1993
Summer 2021 | OA | 126 | NF | 9500 | 9.5 | 9.4868
Summer 2021 | OA | 129 | NF | 5660 | 5.66 | 5.6372
Summer 2021 | OA | 130 | NF | 3980 | 3.98 | 3.953 | 4 | 19900 | 20 | 19.9
Summer 2021 | OA | 135 | NF | 10700 | 10.7 | 10.6529
Summer 2021 | OA | 136 | NF | 6210 | 6.21 | 6.1886
Summer 2021 | OA | 141 | NF | 11300 | 11.3 | 11.2714
|  | Blank5 |  | 209 | 0.209 | 0.17253 | 1 | 1020 | 1 | 1.02
|  | S10 |  | 7080 | 7.08
|  | S10 |  | 10100 | 10.1
|  | S10 |  | 10100 | 10.1